## TestPlan
Test Planner and Tracker |  |  | TEAM – 21 | ARCHIT GOYAL , PRIYANSHU MADAAN, VISHAL VERMA , AKASH VERMA
Test No. ID | Related Use case | Pre-conditions | Test Description (steps) | Expected Outcome | Sprint 2 Outcome (color code cell background) | Comments (if test case failed) | Sprint 3 Outcome (color code cell background) | Comments (if test case failed) | Sprint 4 Outcome (color code cell background) | Comments (if test case failed) | R1 Outcome (color code cell background) | Comments (if test case failed)
1 | Turn Overhead Lights On and Off | None | 1.Repeatitive Sending of Same Control Signal | Should Not Change the State |  |  | Passed |  |  |  | Passed
2 | Measure Humidity and Temperature | None | Compare the Output of Temperature sensor with Thermometer Reading | The Reading of sensor and Thermometer should be same with an error of +-20 C |  |  | Passed |  |  |  | Passed
3 | Measure CO2 level | None | Gradually Change the CO2 concentration inside the container and record output of CO2 sensor | The reading of sensor should increase with increase in concentration and vice versa |  |  | Failed | CO2 Sensor is defective. Needs replacement/Repair/Recaliberation |  |  | Failed | CO2 Sensor is defective. Needs replacement/Repair/Recaliberation
4 | Control AC | None | 1.Repeatitive Sending of Same Control Signal | Should Not Change the State and produce the output similar to a IR Remote |  |  | Passed |  |  |  | Passed
5 | Control Evaporator | None | 1.Repeatitive Sending of Same Control Signal | Should Not Change the State and produce the output similar to a IR Remote |  |  | Failed | Evaporator Not in Working Condition |  | Evaporator Not in Working Condition | Failed | Evaporator Not in working Condition
6 | Control Projector | None | 1.Repeatitive Sending of Same Control Signal | Should Not Change the State and produce the output similar to a IR Remote |  |  | Passed |  |  |  | Passed
7 | API for Lights Control | ESP32 should be controlling the circuit efficiently | 1.Use Postman to Check all the conditions necessary and specified in API. 2.Check if valid status codes are returned as programmed . 3. Check if the API calls are altering the configuration of lights | 1. Database should be updated accordingly . 2 .Programmed Status codes should be returned. 3. Lights Should glow as expected configuration. |  |  |  |  | Passed |  | Passed
8 | API for AC And Projector Control | B1 eaz should be configured for the products. | 1.Use Postman to Check all the conditions necessary and specified in API. 2.Check if valid status codes are returned as programmed . 3. Check if the API calls are altering the state of AC and Projector | 1. Database should be updated accordingly . 2 .Programmed Status codes should be returned. 3. Ac and projector Should respond as expected . |  |  |  |  | Passed |  | Passed
NOTE | The Project was Hardware intensive till R1 and thus no software level testing methodologies can be used
R2
Test No. ID | Related Use case | Pre-conditions | Test Description (steps) | Expected Outcome | Sprint 5 Outcome (color code cell background) | Comments (if test case failed) | Sprint 6 Outcome (color code cell background) | Comments (if test case failed) | Sprint 7 Outcome (color code cell background) | Comments (if test case failed) | R2 Outcome (color code cell background) | Comments (if test case failed)
1 | Backend Server | None | Using postman to send incorrect JSONS | Should not update the database | Passed | [5 empty] | Passed
2 | Backend Server | None | sending multiple requests to update the Database | Should follow ACID properties | Passed | [5 empty] | Passed
3 | Backend Server | None | Sending JSONS with correct fields but not following constraints | Should not update the database | Failed | The constraints were not added | Passed |  |  |  | Passed
4 | Android App | None | User interface and flow of app acceptance by client | Expecting approval and looking for suggestion | Failed | Flow should be dynamic and all the control should be on one screen | Passed |  |  |  | Passed
5 | Android App | None | Rapidly chaning the layout of the screen | Changing the orientation shoould not disrupt the app layout |  |  | Failed | Was not staying fullscreen | Passed |  | Passed
6 | Android App | None | Trying to change the values of temp and occupancy to 0 | Should not change the values to 0 |  |  |  |  | Passed |  | Passed
7 | Android App | None | Rapid pressing of same button (toggling inputs rapidly) | Should not stall the UI |  |  | Failed | UI thread was blocked by the Network operation | Passed |  | Passed
NOTE | The Project was Hardware intensive and due to COVID-19 we were not able to access the Classroom due to Lockdown and thus no integration testing was performed

## Instructions
Test plan Instructions
It is particularly important that you create a substantial set of Acceptance
Tests. These are tests based on the requirements document. Each acceptance
test should describe an operation to be performed by the user, and the
expected outcomes from that operation. The objective is to define a
comprehensive set of tests that between them cover all the features in the
requirements document. The tests should preferably cover all the frequent
"normal use" scenarios, as well as commonly occurring exception scenarios.
Each acceptance test must be described as a set of user instructions for
performing the test, much like a user manual. The outcomes description
specifies how the user knows whether the test succeeded or failed. The
reason for defining acceptance tests early in the life-cycle is to
facilitate "test-driven development". Developers can look at the acceptance
tests that their module must satisfy, and thereby know exactly what behavior
is expected from their module. Make sure to update these if/when
requirements change. Make sure to follow the suggested format.